## G.G.L.S.E. JUMO AGHAM
G.G.L.S.E (JUMO AGHAM) SEMIS Code: (413030345) Tehsil: Rato Dero District: Larkana UC: Jumo Agham
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No.8.1 : Retrofitting of middle schools’ WASH facilities to ensure they are MHM-inclusive for adolescent girls.
BoQ (CIVIL WORK) Latrine (2 Units)
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tank, Main Hole, wc etc. | 2 | Job
2 | Repair of wash room door, including panels, chowkat, bolts, hinges etc including filling of door. | 1 | Job
3 | Providing and fixing 3/4" dia UPVC pipe Best quality include cutting etc complete including all fixtures & fittings including the excavation for pipe as directed by engineer incharge | 30 | Rft
4 | Providing and fixing chromium plated (CP)bib-cock (tabs) heavy duty of approved quality : 1.5 cm ½" | 1 | No
5 | P/L approved quality UPVC pipes for water supply and cowel gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia | 10 | Rft
6 | Supplying & Fixing white color water storage fiber glass tank made of 100% food grade (FGM) material, 3 to 5 layered UV resistant, approved quality and design and wall thickness as specified I/c cost of nutes, bolts and making connections for in-let, & out-let & over flow pipes with gate Valve etc. complete 150 gallons including all accessories, complete as per specifications. / Instructed by Engineer incharge) | 1 | Job
7 | Provision and installation of New Water Motor Pump with AC/DC shehzad tower motor including wiring connection | 1 | Job
| Supplying & Fixing fiber glass tank of approved quality and design and wall thicknessas specicified I/c cost of nutes, bolts and making connections for in-let, & out-let & over flow pipes with gate Valve etc. complete 150 gallons wall thickness 3.5mm (as per need / Instructed by Engineer incharge) | 1 | Job
8 | Repair of Hand-pump Machine with double coat oil paint/color etc in all respect | 1 | Job
9 | Supply of plastic mug and bucket set, made of durable, high-quality plastic, suitable for daily use, complete and ready for use as approved by the Engineer. | 1 | Job
10 | Supply and installation of washroom stool/bench, made of durable, water-resistant material, smooth finish, suitable for wet areas, complete in all respects and approved by the Engineer. | 1 | Job
11 | Supply and installation of washroom hanger/hook, made of corrosion-resistant material (stainless steel ), suitable for wet areas, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
12 | Supply and installation of washroom mirror of size 2' × 1', made of high-quality clear glass with polished edges, fixed with approved fittings, complete in all respects and approved by the Engineer. | 1 | Job
13 | Supply and installation of wall-mounted soap dispenser, made of durable, corrosion-resistant material (plastic ), suitable for washroom use, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
14 | Supply and placement of pedal-operated dustbin, size of dustbin in 30 liters made of durable, corrosion-resistant material (plastic), suitable for washroom use, with tight-fitting lid and foot pedal mechanism, complete in all respects and approved by the Engineer. | 1 | Job
15 | Supply and installation of wall-mounted / Move-able cabinet shelf with lock and key for MHM kit, made of durable, moisture-resistant material, suitable for washroom use, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
TOTAL

## Milstones (3) (hidden)
Milestones, Module LB
| S.No | Milestone |  | Cost (Rs Millions) | Percentage of total Cost
GROUND FLOOR
Step 1 | 1 | Excavation, |  | #VALUE! | #VALUE!
| 2 | PCC 1:4:8
| 3 | RCC 1:2:4 in Footing
| 4 | RCC 1:2:4 in Plint beam, Neck column
| 5 | Mild Steel
| 6 | Back Filling
GROUND FLOOR
Step 2 | 1 | RCC 1:2:4 in Super Structure |  | #NAME? | #NAME?
| 2 | Mild Steel
| 3 | Filling
| 4 | Sand Filling
| 5 | PCC 1:3:6
| 6 | Termite Proofing
| 7 | Electrical Conduits 33 %
GROUND FLOOR
Step 3 | 1 | Brick work in G/F |  | #VALUE! | #VALUE!
| 2 | Steel Chokat
| 3 | Steel Window
| 4 | Wooden Joinery
| 5 | Marble Flooring
| 6 | Marble Skirting
| 7 | Plaster 1/2"
| 8 | Plaster 3/8"
| 9 | Electrical Conduits 20 % | 33%
GROUND FLOOR
Step 4 | 1 | Finishing |  | #VALUE! | #VALUE!
| 2 | Electrical Conduits 20 % | 33%
|  | Total |  | #VALUE! | #VALUE!

## Finishing sub Detail (2) (hidden)
Steps - 1 | [9 empty] | 13324298.8812
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Excavation, |  | #VALUE! | M3 | 105.1 | #VALUE!
2 | PCC 1:4:8 |  | #VALUE! | M3 | 2890.3 | #VALUE!
3 | RCC 1:2:4 in Footing |  | #VALUE! | M3 | 4699.95 | #VALUE!
4 | RCC 1:2:4 in Plint beam, Neck column |  | #NAME? | M3 | 5261.5 | #NAME?
5 | Mild Steel |  | #NAME? | T | 82234.55 | #NAME? | 21% cost of Foudation | #VALUE!
6 | Back Filling |  | #VALUE! | M3 | 104.55 | #VALUE!
| Total |  |  |  |  | #VALUE!
| ADD 8% Location Factor |  |  |  |  | #VALUE!
| TOTAL |  |  |  |  | #VALUE!
| ADD 28% Primium |  |  |  |  | #VALUE!
| NET TOTAL |  |  |  |  | #VALUE!
| Add 0.5% Contigency |  |  |  |  | #VALUE!
| In Million |  |  |  |  | #VALUE!
1828097.2107
Steps - 2
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs) |  |  | #REF!
1 | RCC 1:2:4 in beam and slab |  | #NAME? | M2 | 5261.5 | #NAME?
2 | Mild Steel |  | #NAME? | T | 82234.55 | #NAME?
3 | Sand Filling |  | #VALUE! | M3 | 712.91 | #VALUE!
4 | PCC 1:3:6 |  | #VALUE! | M2 | 2890.3 | #VALUE!
6 | Electrical Conduits 33 % |  |  |  |  | #REF!
| Total |  |  |  |  | #NAME?
| ADD 8% Location Factor |  |  |  |  | #NAME?
| TOTAL |  |  |  |  | #NAME?
| ADD 28% Primium |  |  |  |  | #NAME?
| NET TOTAL |  |  |  |  | #NAME?
| Add 0.5% Contigency |  |  |  |  | #NAME?
| In Million |  |  |  |  | #NAME?
Steps - 3
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Brick work in G/F |  | #VALUE! | M3 | 3925.2 | #VALUE!
2 | Steel Chokat |  | #VALUE! | M2 | 1053.93 | #VALUE!
3 | Steel Window |  | #VALUE! | M2 | 4635.02 | #VALUE!
4 | Wooden Joinery |  | #VALUE! | M2 | 6971.16 | #VALUE!
5 | Marble Flooring |  | #REF! | M2 | 1494.14 | #REF!
6 | Marble Skirting |  | #VALUE! | M2 | 596.56 | #VALUE!
7 | Plaster 1/2" |  | #REF! | M2 | 123.61 | #REF!
8 | Plaster 3/8" |  | #VALUE! | M2 | 144.68 | #VALUE!
9 | Electrical Conduits 20 % | 33% |  |  |  | #REF!
| Total |  |  |  |  | #VALUE!
| ADD 8% Location Factor |  |  |  |  | #VALUE!
| TOTAL |  |  |  |  | #VALUE!
| ADD 28% Primium |  |  |  |  | #VALUE!
| NET TOTAL |  |  |  |  | #VALUE!
| Add 0.5% Contigency |  |  |  |  | #VALUE!
| In Million |  |  |  |  | #VALUE!
Steps - 4
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Finishing |  |  |  |  | #VALUE!
2 | Electrical Conduits 20 % | 33% |  |  |  | #REF!
| Total |  |  |  |  | #VALUE!
| ADD 8% Location Factor |  |  |  |  | #VALUE!
| TOTAL |  |  |  |  | #VALUE!
| ADD 28% Primium |  |  |  |  | #VALUE!
| NET TOTAL |  |  |  |  | #VALUE!
| Add 0.5% Contigency |  |  |  |  | #VALUE!
| In Million |  |  |  |  | #VALUE!
#VALUE!