## GGLSS Sajan sanghi
G.G.L.S.S (SAJAN SANGHI) SEMIS Code: (413020388) Tehsil: Larkana District: Larkana UC: Lund
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No.8.1: Retrofitting of middle schools’ WASH facilities to ensure they are MHM-inclusive for adolescent girls.
BoQ (CIVIL WORK) Latrine (2 Units) including MHM
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 1 | No
2 | Supplying & Fixing fiber glass tank of approved quality and design and wall thicknessas specicified I/c cost of nutes, bolts and making connections for in-let, & out-let & over flow pipes with gate Valve etc. complete 150 gallons wall thickness 3.5mm (as per need / Instructed by Engineer incharge) | 1 | Job
3 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop covk waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all reespects | 1 | Job
4 | Supplying & Fixing white color water storage fiber glass tank made of 100% food grade (FGM) material, 3 to 5 layered UV resistant, approved quality and design and wall thickness as specified I/c cost of nutes, bolts and making connections for in-let, & out-let & over flow pipes with gate Valve etc. complete 150 gallons including all accessories, complete as per specifications. / Instructed by Engineer incharge) | 1 | No
5 | Supply of plastic mug and bucket set, made of durable, high-quality plastic, suitable for daily use, complete and ready for use as approved by the Engineer. | 1 | Job
6 | Supply and installation of washroom stool/bench, made of durable, water-resistant material, smooth finish, suitable for wet areas, complete in all respects and approved by the Engineer. | 1 | Job
7 | Supply and installation of washroom hanger/hook, made of corrosion-resistant material (stainless steel ), suitable for wet areas, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
8 | Supply and installation of washroom mirror of size 2' × 1', made of high-quality clear glass with polished edges, fixed with approved fittings, complete in all respects and approved by the Engineer. | 1 | Job
9 | Supply and installation of wall-mounted soap dispenser, made of durable, corrosion-resistant material (plastic ), suitable for washroom use, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
10 | Supply and placement of pedal-operated dustbin, made of durable, corrosion-resistant material (plastic), suitable for washroom use, with tight-fitting lid and foot pedal mechanism, complete in all respects and approved by the Engineer. | 1 | Job
11 | Supply and installation of wall-mounted / move-able cabinet shelf with lock and key for MHM kit, made of durable, moisture-resistant material, suitable for washroom use, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
12 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
13 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting | 1 | Nos
TOTAL

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
Dismentalling of concrete, brick work etc
| Dismentalling of WC and pipe | 0 | 2 | 2 | 1.5 | .= | 0
Total Qty in CFt
B. B work (1:4) as in super structure.
| 1st Step in Foundation | [6 empty] | Cft | 150.25 | c/c
| Brick work in Hand Pump Long wall | 0 | 5 | 0.75 | 1.5 |  | 0
| Brick work in hand pump shortwall | 0 | 5 | 0.75 | 1.5 | 0 | 0
| Handpump Steps | 0 | 3 | 1 | 0.5 |  | 0
| Latrine steps | 0 | 3 | 1 | 0.5 | 0 | 0
Total Qty in CFt
PCC (1:2:4)
| WC Platform for PCC filling and support | 0 | 2 | 2 | 1.5 |  | 0
| Hand Pump Platform | 0 | 5 | 5 | 0.25 |  | 0
Total Qty in CFt
1/2'' thick cement sand plaster (1:4)
| Latrine inner and outer side wall plaster work | 0 | 5 |  | 3 |  | 0
| Latrine celling plaster work | 0 | 5 |  | 5 |  | 0
| Handpump long wall plaster work | 0 | 5 |  | 1.5 |  | 0
| Latrine Steps | 0 | 3 | 1 | 0.5 |  | 0
| Handpump Steps | 0 | 3 | 1 | 0.5 |  | 0
| Hand Pump short wall plaster work | 0 | 5 |  | 1.5 |  | 0
| Total Qty in SFt |  |  |  |  | .= |  | Sft
Pre-Caste RCC Slabs for Cabin, ST,SP
| Septic Tenk Pre-caste /RCC Cover | 0 | 4.5 | 7 | 0.25 |  | 0
| Main Hole Pre-caste/ RCC Cover | 0 | 2 | 2.5 | 0.25 |  | 0
Total Qty in CFt